Safety Support

Welcome to ______________________________________________________________________________

During the day you may encounter issues in relation to Safety, your subject matter expert for advice and support at this time is noted, by region, below:

| Logistics & International | Lisa Durrant | 07885 376097 |  | East Region | Robert Kelly | 07725 826017 |
| --- | --- | --- | --- | --- | --- | --- |
| North Region | Steve Greaves | 07801 091659 |  | West Region | Michael Shakeshaft | 07725 200527 |

- At the beginning of your shift, conduct a walk around of the site to check for any hazards.

- You need to ensure these three key tasks are completed at the start of the day.

- Check the Fire alarm panel for fault indication

- Check for correct operation of the indicator lamp on the Emergency escape lighting

- Ensure that all gangways/ fire exits are not blocked

- In addition, familiarise yourself with emergency procedures on site:

- Key contacts   /   first aiders   /   fire wardens   /   evacuation plan

- Establish if there is due to be a Fire Alarm test during your period of cover.

- An e-learning PIC course is available on Success Factors, you may find this helpful.  Details have been sent to you when advised of your work location.

- In the event of a workplace accident:

- Call for a first aider and check the condition of the injured person – is an ambulance required?

- Ensure that the hazard that caused the accident is made safe

- Make a note of any persons in the vicinity, who will be able to help with the investigation later

- Complete an ERICA – see below, and contact the Safety SME in the control centre if advice required

- In the event of a road traffic collision:

- Check the condition of the driver – if either they or a third party are injured, notify the police

- Contact CPC if the incident involves a vehicle 7.5t or larger

- If the vehicle involved is smaller than a 7.5t, advise driver to report the collision to the Lex Telephone Reporting Line – 0344 811 5272

- When driver returns to the office, complete ERICA – see below

- Reporting workplace accidents

- ERICA (Electronic reporting of Incidents for Collation & Analysis) system is used to report all accidents via http://intranet.royalmailgroup.net/erica/.  The system will require the details of incident, system prompts will support this process.

- Logistics Functions - If the accident results in absence, becoming a Lost Time Accident, contact Central Postal Control via e mail

8.	Local record retention

- The Manager dealing with the incident will ensure that a signed copy (Part 1) of the accident report),  is printed and filed in the local ERICA folder and a copy is provided to the Employee.

9.	Supporting injured employees to remain at work

- It is important to discuss with the employee if there is any support that Royal Mail Group could offer to the employee to help them during the period following an accident and to assist their maintaining attendance.

- The employee should also be reminded of the First Class Support helpline on 0800 6888 777 and the support that this can offer.

10.	Changing details on ERICA  - please call the Accident and Claims Unit on 01902 877 468.

| CPC 0345 2661060 | Property & Facilities 0844 8009191 Reporting faults in the building, furniture and fittings | Site Log Book Key document for the PiC, it contains, important safety information | CSR Contact Centre 0845 6009665 p/l 5456 4697 The PiC can obtain advice on SHE matters | Stay Calm Guide This explains what to do in the event of an emergency or serious incident |
| --- | --- | --- | --- | --- |